- Field Instrument Installation

1.0	PURPOSE AND SCOPE

To provide a procedure for controlling field instrument installation.  The procedure applies to customer instruments, and marketing demonstration equipment at the time of installation.

2.0	AFFECTED DEPARTMENTS

- Repair & Calibration

- Marketing

- Manufacturing

- Material Control

3.0	REFERENCE DOCUMENTS

- D0001.1144 Field Instrument Service

- Applicable Operator & Installation Manuals for the system to be installed

4.0	RESPONSIBILITIES & AUTHORITY

The field installer has the following responsibilities and authority:

- Choose a suitable location away from heat, cold, and wet.

- Check the equipment list to determine missing items.

- Bring with or arrange for necessary installation tools.

- Install and proof operation of the new system.

- Train the customer on proper use to prevent problems.

5.0	DEFINITIONS

- LD:	Larson-Davis

- PO:	Purchase Order

- WO:	Work Order

6.0	SAFETY PRECAUTIONS

- Evaluate the location for possible hazards, then take the necessary precautions to avoid injury.

- Wear appropriate eyewear for troubleshooting and repairing instruments.

- Observe safe lifting practices.  If object is too heavy or awkward, get help to lift it.

- If working in areas with the potential for head injury (low hanging branches, construction, etc.) wear a hard hat.

- If working from scaffolding or a ladder, make sure the platform is secure and will not move.  If appropriate use an OSHA approved body harness for fall protection.

- Take all necessary electrical precautions for lock-out / tag-out and for working in areas with overhead power lines.

- If injured while onsite, obtain medical help then contact Larson-Davis and report the incident.

7.0	EQUIPMENT & MATERIALS

- PC with appropriate test programs

- Tools for on-site repair

- Spare parts as applicable

8.0	INSTRUCTIONS

- Verify with the customer that all new equipment has been received and is undamaged.

- Have the customer confirm the equipment is what they ordered.

- Obtain a map of the location and determine suitability.

- Look for potential problems with the location.

- Check the equipment list, cables, manuals, and accessories.

- Order any missing, damaged, or overlooked equipment.

- Proceed with the installation.

- Test operation

- Train the customer in proper operation and how to avoid potential problems.

9.0	INSPECTION

- Check for shipping and handling damage.

- Check operation with factory provided test programs.

10.0	RECORDS

- Packing List

- WO for the technicians

- Shipping document

Records are maintained in the Repair & Calibration Department for a minimum of one year.

11.0	DISTRIBUTION

- Repair & Calibration Department

12.0	ATTACHMENTS

The listed attachments are examples of the forms that are used in the process of a field installation.

- Receiving Form

- Completed Work Order

- Customer Acknowledgement Form

- Shipping Document

13.0	REVISION HISTORY

| ECO # | REV | DATE | INITIALS | CHANGES MADE |
| --- | --- | --- | --- | --- |