2221 Final Checklist         Order #  ________________

Customer Name: _______________

Serial Number: ________________                                                     Date: _________________

:

A2221.01 board revision: ________		                          Tech: _________________

|  | Use 2221 Test instructions: D0001.8234 |
| --- | --- |
|  | . Power Supply Voltage Verification. D0001.8234 step 5.1 |
|  | Firmware revision. REV. ______ |
|  | . Gain Adjust, Signal LED and Overload LED Verification. D0001.8234 step 5.2 |
|  | Battery LED Function. D0001.8234 step 5.3 |
|  | Final Assembly & Test. D0001.8234 step 5.4 |
|  | Passes Computer test |
|  | Check 200V bias with Microphone and Pre-amp |
|  | Serial and CE label on Unit. |
|  | Send Test results and Certification document. |
|  | Accessories included. 2221 Manual. |
|  | Information added to Data Base. |
|  | Test all Key functions. |

Test station  ______________

Manufacture Date  __/__/____

Certification Date  __/__/____