Environmental Test Chamber Maintenance

Model:			Espec PLA-4GP

Serial Number:	72022

Location:		South Building

Monthly

- Check wet bulb, replace if dry or solid.

- Check water level of wick pan.

- Check condenser fan.

- Check circuit breaker functions.

- Clean interior.

Refer to the manual for the PLA-4GP, Pages 32-36