Environmental Test Chamber Cables

Affectivity:

Affects the cables used to test product in the Espec PLA-4GP test chamber located in the South Building.

Monthly:

- Check all cables for corrosion replace or repair.

Yearly:

- Replace all cables used internally.

3. Certify the 870’s using the Lab test.