# DMA 2120 ENVIRONMENTAL CONTROL

Manufacturer:	Data Aire, Inc.

Model:		DMA 2120

Serial Number:	97-1814-A

Location:		Environment Controlled Room, North Building

Reference:  Installation Instructions Model DMA 2120

Semi-annually

- Inspect Air Filter for cleanliness.  Replace if necessary.  The inlet and outlet grilles should also be kept clean and unobstructed.

- Motor is sealed and self-lubricated.  Check and clean vent holes semi-annually.

- Clean out humidifier.  Refer to page 2 of manual.

- Inspect condensate pan and pump.  Clean if necessary.