Vacuum Pump

Manufacturer:	Lammert

Model:		10301B

Serial Number:	30125

Location:		North building, compressor closet

Weekly:

- Check oil level by viewing glass portal on front of pump.

- Add oil if needed.

# Annually:

3.  Change oil.  Pump requires mechanical vacuum pump oil “LV0191G.”