Calibrator Test Chamber Maintenance

Manufacturer:	ESPEC

Model:		LHU-112M-U

Serial Number:

Location:		North building, Technician area

Reference:  ESPEC operating/instruction manual.  Model LHU-112M-U

Quarterly:

- Clean the air intake and exhaust port on the rear panel.  (See section 10 of the operating manual.)

- Clean inside and outside of chamber.