EMERGENCY LIGHTING

Location:	North and South buildings

Monthly:

- Push to test functionality

- Check light bulbs.

- Check battery.

If battery or light bulbs need replacement, contact Quality Assurance.