CAL150 Class 2 Final Checklist

| Serial Number: | Date: |
| --- | --- |
| Technician: |  |

| Final SPL: 114 dB  .04 dB @ 1013 mbar |  |
| --- | --- |
| Final SPL: 94 dB  .04 dB @ 1013 mbar |  |
| Final Frequency: 1000.0  .5 Hz |  |

Enter in LD database

Export data to MET/CAL

Calibration label on unit

Cal Seal on unit

Documents for unit:

CAL150 temperature plots

Notes: