CAL250 Final Checklist

| Serial Number: | Date: |
| --- | --- |
| Technician: |  |

Check power switch alignment

Check screen

Check tone

LDL calibration seal placed over pot adjustments

| Final SPL: 114 dB  .03 dB @ 1013 mbar |  |
| --- | --- |
| Final Freq: 251.2  .1 Hz @ 1013 mbar |  |

Enter in LD database

Export data to MET/CAL

Calibration label

Cal Seal on unit

CAL250 Temperature Plots

Notes: