LxT Final Checklist

| Instrument Type: | Preamplifier: | Microphone: |
| --- | --- | --- |
| LxT1 LxT2 | PRMLxT1 PRMLxT1L PRMLxT2(B) PRMLxT2L |  |
| S/N | S/N | S/N |

| Customer: | Order Number: |
| --- | --- |

Technician

Program model and serial number, and assign preamp						FEATURES (OPTION)

Place serial number label on back of the unit								 1/1 Octave (OB1)

Passes production tests														 1/3 Octave (OB3)

Keys tested																	 Voice Annotation (DVA)

LCD contrast and back light													 Time History (LOG)

AC/DC out, headset function													 Industrial Hygiene (default)

Performed acoustic test														 Community Noise (CN)

Format / Restore Defaults													 Measurement History (ENV)

Program the options and set the date and time (D0001.8307)				 Fast Time History (HSLOG)*

LxT badge on the front of the unit											 * Requires “Time History (LOG)”

Certificate of Calibration and Conformance printed and signed				 QC Tonality (QC)

Calibration sticker placed in battery compartment							 Noise Enforcer (NFR)

Information entered into the database

Select Flash Size:

Inspection

Calibrate with the customer’s microphone and save when prompted

Check certification dates and manufacture date

Verify the options programmed into the unit

Technician Final Inspection slip

| A770.01 REV.: | Firmware version: | Test station: METCAL |
| --- | --- | --- |

| Technician: |  | Date: |  |
| --- | --- | --- | --- |
| Materials Control: |  | Date: |  |
| Inspection: |  | Date: |  |