PCB Piezotronics Inc., Larson Davis Division

Power Supply Test & Verification Checklist

| Date: |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Instrument Under Test |  |  |  |  |  |  |  |  |  |  |
| Manufacturer: |  |  |  |  |  |  |  |  |  |  |
| Model: |  |  |  |  | Serial #: |  |  |  |  |  |
| Calibration Interval: |  |  |  |  |  |  |  |  |  |  |
| Received Status: | In Tolerance |  |  | Out of Tolerance |  |  |  |  |  |  |
| Temperature: |  |  |  | Humidity: |  |  |  |  |  |  |
| TEST INSTRUMENT(S) |  |  |  |  |  |  |  |  |  |  |
| Manufacturer | Model |  |  | Serial # |  | Traceability |  |  | Calibration Due |  |
| POWER SUPPLY TEST RESULTS |  |  |  |  |  |  |  |  |  |  |
| Reference Voltage |  | Allowed Range |  |  |  |  | Measured |  |  | In Tolerance? |
| 12 Volt |  | 11.4 to 12.6 Volts |  |  |  |  |  |  |  |  |
| Reference Current |  |  |  |  |  |  |  |  |  |  |
| 400mA |  | 380 to 420 mA |  |  |  |  |  |  |  |  |
| Instrument has been tested and verified according to the test procedure, D0001.8318. This instrument has been found to be: In Tolerance Out of Tolerance (remove from service until repaired & re-tested) If In Tolerance, this instrument will be due for re-certification on: |  |  |  |  |  |  |  |  |  |  |

(Technician)						(Date)