NoiseTutor Software Installation Instructions

# PURPOSE AND SCOPE

This document provides the detail and instruction necessary to ensure the compliance of the SEPS041 to established design and market specifications. This instruction is applicable to both new product and to customer owned product that has been returned for repair and/or calibration.

# LIMITATIONS

This instruction is limited to the FITPC-NT.1.

# AFFECTED DEPARTMENTS

Manufacturing

# REFERENCE DOCUMENTS

None

# RESPONSIBILITIES & AUTHORITY

The technician has the following responsibilities and authority:

- Installation  of the NoiseTutor License File

- Verification of License File Functionality if 831 is provided (NMS021 systems only)

- Creating and System Restore Point

# SAFETY PRECAUTIONS

Follow the Larson Davis ESD procedure when handling unprotected/ungrounded electrical circuits.

# EQUIPMENT & MATERIALS

- A NoiseTutor PC, possibly installed into a NoiseTutor station

- NoiseTutor license file

# PROCEDURES

## Noise Tutor License File Installation

- If applicable, receive license file from Purchasing.

- Copy license file to C:\ProgramData\Lake-view Software\NoiseTutor

This folder can be accessed from NoiseTutor client by selecting View  NoiseTutor Folder

## Noise Tutor Client Verification (If 831 is included)

- Start up NoiseTutor client.

- Verify the license is listed from the Help  About dialog.

- Verify the 831 is connecting to PC through the following instructions.

  - In the NoiseTutor Toolbar, select Commands  Start

  - Ignoring any error messages, the NoiseTutor Log should state that the 831 is connected as in Figure 1.

Figure 21. ensure 831 is connecting to PC through NoiseTutor client

- Close the NoiseTutor client.

## Create Windows System Restore Point

- Select Start, right-click (My) Computer, and then click Properties as shown in Figure 2.

Figure 2. select properties from (my) Computer

- Select System Protection as in Figure 23.

Figure 3. select System Protection in System Window

- Select Create … as shown in in Figure 24.

Figure 4. select Create in System Properties

- Enter “Original Factory Configuration” in the Restore Point dialog as shown in Figure 5 and select Create.

Figure 5. select Create in System Protection

- Select Close to the successful creation message as in Figure 6.

Figure 6. Successful Restore Point Creation message

- Close System Protection Window.

- Close System Window.

- Shut down the PC

# RECORDS

- Store the license file/s received from Spectra in the Data\CertData\NoiseTutor network folder.

- Burn the appropriate license file/s onto a NoiseTutor CD and record the 831’s serial number (if applicable) on the relevant NoiseTutor CD label.

# DISTRIBUTION

Instruction is available online in the “NoiseTutor” folder in the “Technician work instruction” folder in Document Control.

# REVISION HISTORY

| DCO # | REV | DATE | INITIALS | CHANGES MADE |
| --- | --- | --- | --- | --- |
|  | A | 08/15/11 | JS | Initial Release. |
|  | B | 09/20/11 | JS | UAC  user access control Tell how to show and hide hidden directories. |
|  | C | 04/16/2012 | KCM | Added steps, Wireless Watcher, and TeamViewer Install. |
| 4219 | D | 7/23/2013 | KCM | Changed modem utility to ACE Viewer . Called out source location of necessary files. Removed Verification of Microsoft registration. |
|  | E |  | KCM | Incorrect Revision in MRP |
| N/A | F | 9/3/2014 | KCM | Reduced to License File Install & System Restore Creation |