Generate Options using LDKeyGen

- PURPOSE AND SCOPE

The purpose of this instruction is to provide the detail and instruction necessary to generate an options file using LDKeyGen.

- AFFECTED DEPARTMENTS

Logistics

Manufacturing

- RESPONSIBILITIES & AUTHORITY

Production has the responsibility to correctly configure an options file per the customer’s order.

- EQUIPMENT & MATERIALS

- PC with LDKeyGen and G4 LD Utility installed and with email capability (optional).

- 0621.0095 – USB cable for 831, LxT, & LxT-se

- 0621.0111 – USB cable for HVM200

- SAFETY

Follow basic workplace safety policies for working with a PC.

- INSTRUCTIONS

  - Generate an Options file.

    - Run the LDKeygen program.

    - Enter your user name and password.

    - On the Generate tab, select the appropriate meter model type from the Model dropdown.

    - For model type:

      - 831, LxT, & LxT-se: Select the serial number from the Serial dropdown and click Refresh. (Note: if the serial number is not found, or no serial number is present, the meter has not been entered into LxTTest.)

      - HVM200: Manually enter the desired serial number and click Refresh. (be sure to use leading zero’s to pad the number to 7 digits.)

    - From the Packages list, check the options to install per the customer’s order.

    - Click Generate.  A dialog indicating success or failure will be displayed.

      - On Success, click OK. The options file is now ready to be uploaded to the meter.

      - On Failure, determine the cause and take corrective action.

  - Upload Options using G4

    - Run the G4 LD Utility program.

    - Select File->Upgrade Firmware or Options. The Connect to Meter dialog will be displayed.

    - Select the appropriate device type and connection type.

    - Select the desired meter to upload options to and click Connect.

    - For model type:

      - 831, LxT, LxT-se: The SLMFirmwareProgrammer dialog will be displayed.

        - Click Next.

        - Select the Options radio button.

        - Click Browse

          - Browse to the output folder chosen in step 6.A.6). (the default output folder is C:\ProgramData\PCB Piezotronics\LDKeyGen)

          - Select the appropriate options (.opt) file and click Open.

        - Click Next.

        - Confirm choices and click Finish. The Loading Firmware dialog will be displayed showing progress of the upload. When finished, the meter will reboot.

        - Click Close.

      - HVM200: The Upgrade Firmware/Options dialog will be displayed.

        - Select the Options radio button.

        - Click Chose Options File

          - Browse to the output folder chosen in step 6.A.6). (the default output folder is C:\ProgramData\PCB Piezotronics\LDKeyGen)

          - Select the appropriate options (.ophvm2) file and click Open.

        - Click Upload Options. The options file will be uploaded to the meter and the meter will reboot.

        - Click Close.

  - Verify Options using G4

    - Run the G4 LD Utility program.

    - Click Connect. The Connect to Meter dialog will be displayed.

    - Select the appropriate device type and connection type.

    - Select the desired meter to connect to and click Connect.

    - After connecting to the meter, select the Setup Manager tab.

    - On the Setup Manager tab, select the desired meter from the dropdown on the right hand side.

    - For meter type:

      - 831, LxT, LxT-se:

        - Click View System Properties.

        - In the System Properties view on the right hand side, select the Options tab.

      - HVM200:

        - In the Settings: Active view on the right hand side, select the Options tab.

    - Verify the installed options match the customer’s order.

- DISTRIBUTION

This instruction is available to employees via the online Document Control area.

- REVISION HISTORY

| DCO # | REV | DATE | INITIALS | CHANGES MADE |
| --- | --- | --- | --- | --- |
| 1596 | A | 12/15/15 | JTM | Initial Release |