**Model 730IS** Final Checklist

|  |  |  |  |
| --- | --- | --- | --- |
| Instrument Model: |  | S/N:  | Mic S/N:  |
| Customer: |       | Order #:  |

**Technician / Assembler**

|  |
| --- |
| **Tracking Information** |
| **Board** | **Rev** | **Batch Code[[1]](#footnote-1)** |
| A730.12-IS |  |  |
| A730.03-IS |  |  |

[ ]  Intrinsically Safe critical parts verified

[ ]  Firmware Upgraded

[ ]  Information entered into the database

|  |  |  |
| --- | --- | --- |
| Firmware version:  |  | Test station: **METCAL**  |
| Technician: |  | Date: |  |

**Order Assembly - Features (Options)**

[ ]  1/1 Octave Analysis (730-OB1)

[ ]  Sound Recorder (730-ESR)

Select Flash Size:

|  |  |  |  |
| --- | --- | --- | --- |
| Materials Control: |  | Date: |  |

[ ]  No Bluetooth (730-NBT)

**Inspection**

[ ]  Inspect case seal/gasket (see S730.04-IS)

[ ]  Calibrate to customer’s microphone, verify sensitivity

[ ]  Check certification dates

[ ]  Verify the options programmed into the unit (if applicable)

[ ]  Format restore defaults

[ ]  Verify the Wireless Chargers work with meters when shipping in a pack or N/A [ ]

[ ]  Clips attached

[ ]  Protective Cap (0680.0026) attached when not shipping in a pack or N/A [ ]

[ ]  Verify Certificate of Calibration and Conformance

[ ]  EU Declaration of Conformity and Manual Safety Information included

|  |  |  |  |
| --- | --- | --- | --- |
| Inspection: |  | Date: |  |
| Comments: |

1. Tracking number supplied by Contract Manufacturer found on QR code sticker on the board. [↑](#footnote-ref-1)