ACC010 NMS044 Pole Work Instructions

# PURPOSE AND SCOPE

The purpose of this document is to provide the detail and instruction necessary to tear down and create the ACC010.

# AFFECTED DEPARTMENTS

- Production

# REFERENCE DOCUMENTS

- NA

# RESPONSIBILITIES & AUTHORITY

The technician has the following responsibilities and authority:

- Communicate concerns to Supervisor or Quality Assurance.

- Request management review of product concerns.

# SAFETY PRECAUTIONS

- Follow proper safety protocols while working with hand tools

# EQUIPMENT & MATERIALS

- Safety glasses.

- QTY 1.0, MEPS044.11 Telescoping Pole

- QTY 1.0, 5335.0010 3/8-16 to ¼-20 thread adapter

# INSPECTION

- Verify that there were no scratches caused by the tear down.

# Assembly Instructions

- The monopods original use is for holding a camera and has many included items we do not need / use.

Figure 1: Prep Work

- Use the included HEX 2.5mm key to loosen the set screw on the base ring seen in Figure 2.

Figure 2: Loosen Set Screw.

- Remove the base ring, wrist strap, bag, foam grip, and rubber foot and recycle them.

Figure 3: Tear Down

- Use Red Loctite and place the thread insert into the smaller end of the tripod.

Figure 4: Loosen Set Screw

# REVISION HISTORY

| DCO # | REV | DATE | INITIALS | CHANGES MADE |
| --- | --- | --- | --- | --- |
| ECO 5051 | A | 2/19/2021 | DWA | Initial Release |