PROGRAMMING DNA DONGLES

1.0	PURPOSE AND SCOPE

The purpose of this document is to describe the steps for programming dongles for the DNA software.

2.0	AFFECTED DEPARTMENTS

Manufacturing

3.0	REFERENCE DOCUMENTS

D0001.8117 Assembling DNA

4.0	RESPONSIBILITIES & AUTHORITY

It is the responsibility of the person programming the dongle to follow the procedure in this document.

5.0	DEFINITIONS

DNA 				Data Navigation Analysis Software

Dongle 			Hardware key for the software

Dongle

Programming File:		Program used to program the dongle (obtained from either

Marketing or 3rd party)

6.0	SAFETY PRECAUTIONS

N/A

- EQUIPMENT & MATERIALS

  - PC running Windows 95, 98, or NT.

  - Dongle

  - Dongle programming file

  - CD containing DNA software

8.0	INSTRUCTIONS

- Place the dongle programming file on the hard drive of the PC.

- Put the dongle on the LPT1 port of the PC.

- Double-click on the programming file to program the dongle.  A window will appear while the programming takes place.

- When it is complete, delete the programming file.

- Leave the dongle in place on the PC port to test (see next section).

9.0	INSPECTION

9.1	Test the dongle following these steps:

- The dongle should be on the LPT1 port of the PC that will be used to test the dongle.

- Place the DNA CD in the CD drive.

- In Windows Explorer, double-click on the Setup file in the root directory of the CD.  (This will install the DNA software on the hard disk.)  You will see a dialog indicating that the setup program will install DNA.

- Click Continue.  The Installation Options dialog will appear.

- Select Normal installation and click Continue. The Get Install Directory dialog will appear with the install directory defaulted to

“C:\Program Files\Larson Davis\DNA”.

- Click Continue.  The Analyzer Install Options dialog will appear.

- Select the appropriate analyzers based on the order, then click Continue.  The User Info dialog will appear.

- Click Continue.  The installation progress window will appear showing the progress of the installation.

- When the install is complete, the DNA Setup Exit dialog will appear.

- Click OK.

- A new DNA program group will appear on the window with the DNA program icon in it.  Double-click the DNA icon.  This will start up the DNA program.

- Click on the “?” in the top menu bar, then on the “About DNA” menu item.  The About DNA dialog will appear which lists the options enabled in the program.

- Check the options list against the order; the options on the order should match the options in the list (not exact word match, but there should be a logical match between those on the options list and those on the order).

- Exit the DNA program with the File – Exit menu option.

9.2	Remove the DNA CD the dongle from the PC.

- Take the DNA CD out of the CD drive.

- Take the dongle off of the LPT1 port of the PC.

9.3	Delete DNA from the PC by doing the following:

- Open the Windows Explorer.

- Move the mouse pointer to the lower left corner of the screen.  This should expose the Start button.

- Click on the “Start” button to bring up the Start menu.

- Highlight “Settings” in the Start menu to bring up the Settings menu.

- Click on “Control Panel” in the Settings menu to open the Control Panel.

- Click on the “Add/Remove Programs” icon in the Control Panel.

- Select “DNA” in the list of software.

- Click on the “Add/Remove…” button.

- When asked if you are sure you want to remove DNA click “Yes”.

- The uninstall will proceed.  When it is finished click OK.

- Click OK in the Add/Remove dialog and exit out of the Control Panel (click on the ‘X’ on the upper right hand corner of the dialog).

10.0	RECORDS

N/A

11.0	DISTRIBUTION

Manufacturing

12.0	ATTACHMENTS

None.

13.0	REVISION HISTORY

| DCO # | REV | DATE | INITIALS | CHANGES MADE |
| --- | --- | --- | --- | --- |