**Model 730IS** Final Checklist

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Instrument Model: | |  | S/N: | Mic S/N: |
| Customer: |  | | | Order #: |

**Technician / Assembler**

|  |  |  |
| --- | --- | --- |
| **Tracking Information** | | |
| **Board** | **Rev** | **Batch Code[[1]](#footnote-1)** |
| A730.12-IS |  |  |
| A730.03-IS |  |  |

Intrinsically Safe critical parts verified

Firmware Upgraded

Information entered into the database

|  |  |  |  |
| --- | --- | --- | --- |
| Firmware version: |  | Test station: **METCAL** | |
| Technician: |  | Date: |  |

**Order Assembly - Features (Options)**

1/1 Octave Analysis (730-OB1)

Sound Recorder (730-ESR)

Select Flash Size:

|  |  |  |  |
| --- | --- | --- | --- |
| Materials Control: |  | Date: |  |

No Bluetooth (730-NBT)

**Inspection**

Inspect case seal/gasket (see S730.04-IS)

Calibrate to customer’s microphone, verify sensitivity

Check certification dates

Verify the options programmed into the unit (if applicable)

Format restore defaults

Verify the Wireless Chargers work with meters when shipping in a pack or N/A

Clips attached

Protective Cap (0680.0026) attached when not shipping in a pack or N/A

Verify Certificate of Calibration and Conformance

|  |  |  |  |
| --- | --- | --- | --- |
| Inspection: |  | Date: |  |
| Comments: | | | |

1. Tracking number supplied by Contract Manufacturer found on QR code sticker on the board. [↑](#footnote-ref-1)