## Inspection Plan
Process |  | Authorized |  |  |  | Criteria | Exceptions
RECEIVING INSPECTION |  | Logistics | Production | Quality Assurance
1.0 | PURCHASED ITEMS
1.1 | Non-LCD items | X |  | X | Visually exam the items for damage | Purchase Order, BSD approved items list
|  |  |  | X | When applicable power on unit. If the unit has a remote ensure it is programed with unit.
|  |  |  | X | 1st Article product need extra inspection to ensure propertly made.
1.2 | LCD Type items |  |  | X | Visual / Cosmetic inspection
|  |  | X |  | Functional Test
2.0 | CUSTOM FABRICATED ITEMS
2.1 | Printed Circuit Boards (pcb's) | X |  | X | Verify that an electrical test stamp is on the board or panel | This is a visual check and is done before the boards are cleaned | Does not apply to prototypes
|  |  |  | X | Visually inspect each board/panel | IPC-A-600 (laminate & conductor to Class 3) | Hole size verification is not performed unless deemed necessary by the inspector. (i.e. hole visually appears incorrect in size)
|  |  |  | X | Measure overall thickness and verify dimensions of one board/panel per order (refer to fabrication drawing) | pcb fabrication drawing
|  |  |  | X | Verify other requirements on fabrication drawing for the board/panel | pcb fabrication drawing
2.2 | Sheet Metal Fabrication |  | X | X | Inspect for cleanliness, if the items are not clean then have Logistics arrange to have items washed | Engineering Fabrication Drawing for the item being inspected | If there are non-conformants items found check an additional 10%, if more NCN are found then inspect 100% of the received items
|  |  | X | X | Randomly select 5% of the order for dimensional, thread and surface texture verification |  | Inspect per the QC Items note listed on the QC Receiver
|  |  | X | X | Visually verify through comparison that the other pieces (100%) in the order are consistent with the piece that meets the requirements |  | Or as specified by the Engineer or QA Manager
|  |  | X | X | Perform a 100% inspection for visual conformity
2.3 | Machining |  | X | X | Inspect for cleanliness, if the items are not clean then have Logistics arrange to have items washed | Engineering Fabrication Drawing for the item being inspected | If there are non-conformants found check an additional 10%, if more NCN are found then inspect 100% of the received items
|  |  | X | X | Randomly select 5% of the order for dimensional, thread and surface texture verification |  | Inspect per the QC Items note listed on the QC Receiver
|  |  | X | X | Verify 100% of threads
|  |  | X | X | Visually verify through comparison that the other pieces (100%) in the order are consistent with the piece that meets the requirements
|  |  | X | X | Perform a 100% visual inspection for cosmetic conformity
|  |  | X | X | Perform additional verifications as required by Engineering or the QA Manager (item specific)
2.4 | Stamping |  | X | X | Inspect for cleanliness, if the items are not clean then have Logistics arrange to have items washed | Engineering Fabrication Drawing for the item being inspected
|  |  | X | X | Randomly select 5% of the order for dimensional, thread and surface texture verification
|  |  | X | X | If item is stamped metal, rubber, plastic, etc. with no additional processing beyond stamping, then end the inspection at this point
|  |  | X | X | If the item has additional processing (anodizing, painting, plating, etc), inspect the additional processes 100% for cosmetic & functional conformity
2.5 | Engraving |  | X | X | Verify that the engraving text matches the engineering drawing | Engineering Fabrication Drawing for the item being inspected | If number sequences have been skipped, record the information on the receiver
|  |  | X | X | Verify 100% that the text is legible and that the items meet cosmetic requirements
|  |  | X | X | If items are serialized, verify that number sequences have not been skipped against the purchase order
2.6 | Injection Molding |  | X | X | Randomly select 25% of the items received and inspect for cosmetic and functional conformity. | Cosmetic Specifications for Injection Molded Items (SPI standard) | If more than 10 pieces or 25% of the sample of the items are non-conformant then inspect 100% of the received items
| Injection Molding (RADCAM) |  | X | X | Randomly select 25% of the items received and inspect for cosmetic and functional conformity. | Cosmetic Specifications for Injection Molded Items (SPI standard) | If more than 10 pieces or 25% of the sample of the items are non-conformant then inspect 100% of the received items
2.7 | Overlays & Keypads |  | X | X | Inspect per the inspection procedure | Inspection procedure - D0002.2018 Overlay - Keypad Inspection
2.8 | Soft Cases / Sewing |  | X | X | Inspect per the inspection procedure | Inspection procedure - D0002.2011 Soft Case Fabrication and Inspection
2.9 | PTFE |  |  | X | Inspect for cleanliness, if the items are not clean then have Logistics arrange to have items washed | Inspection procedure - D0002.2057 Incoming Materials Inspection
|  |  |  | X | Randomly select 5% of the order for dimensional, thread and surface texture verification
|  |  |  | X | Verify threads 10%
2.10 | Pad Printing |  |  | X | Randomly select 5% of the order for dimensional and surface texture verification | Inspection procedure - D0002.2057 Incoming Materials Inspection
2.11 | Shield Coating |  |  | X | Randomly select 5% of the order for dimensional and surface texture verification | Inspection procedure - D0002.2057 Incoming Materials Inspection
2.12 | Foam |  |  | X | 10% Fit test. | Inspection procedure - D0002.2057 Incoming Materials Inspection | If more than 10 pieces or 10% of the sample of the items are non-conformant then inspect 100% of the received items
|  |  |  | X | Randomly select 5% of the order for dimensional, thread and surface texture verification
|  |  |  | X | Visually verify through comparison that the other pieces (10%) in the order are consistent with the piece that meets the requirements
|  |  |  | X | Perform a 100% visual inspection for cosmetic conformity
|  |  |  | X | Foam that has adhesive - Enter information into Shelf Life Control System spreadsheet found in R:\Provo\Shared\QC LD\Adhesives. Place sticker on packaging with adhesive expiration date.
|  |  |  | X | Perform additional verifications as required by Engineering or the QA Manager (item specific)
2.13 | Labels |  |  | X | Randomly select 5% of the order for dimensional and surface texture verification
|  |  |  | X | If items are serialized, verify that number sequences have not been skipped against the purchase order
|  |  |  | X | Enter information into Shelf Life Control System spreadsheet found in R:\Provo\Shared\QC LD\Adhesives. Place sticker on packaging with adhesive expiration date.
2.14 | Glass |  |  | X | Perform a 100% visual inspection for cosmetic conformity. Check for scratches, dig marks, or chips on the sides of the glass. | 730 CANNOT have any scratches or dig marks. | Use the T770.0005 scratch and dig panel to ensure scratches/digs are in tolerance.
|  |  |  | X | Randomly select 5% of the order for dimensional measurements
2.15 | Cases |  |  | X | Perform a 100% visual inspection for cosmetic conformity inside and out of each case. Ensure latches close securely and hinges function properly.
|  |  |  | X | Randomly select 5% of the order for dimensional measurements
|  |  |  | X | Cases that have foam placed inside, randomly select 5% of the order for dimensions, cuts, and ensure foam that should NOT be glued in is not.
3.0 | INPROCESS INSPECTION
3.1 | Surface Mount Inspection |  |  | X | Inspection of surface mount assemblies following the loading and soldering of items | IPC-A-610 Acceptability of Printed Board Assemblies
3.2 | Post Receipt Processing | X | X | X | Inspection of the post-receipt processing prior to inclusion in the final product. The level of inspection is dependent on the type and extent of the post-receipt processing. | Engineering drawings, instructions, and/or notes.
4.0 | FINAL INSPECTION
4.1 | Final Test |  | X |  | Performed to verify product functionality to product specifications | Engineering test software for the product, bench test, Engineering drawings, product specific work instructions
|  |  | X |  | The Technician performing the final test, completes the applicable paperwork and/or checklists | Product checklist | Applies to products that have checklists
4.2 | Final Technician Inspection |  | X |  | A Technician, other than the one doing the Final Test, inspects the final product per pre-determined criteria and methods for the product (i.e. bench calibration) | Product dependent | Products that cannot be bench calibrated are visually verified
5.0 | Pre-shipment Inspection
5.1 | Order Configuration |  | X |  | Configure the product per the requirements of the order and verify against the order
5.2 | DSP80 Family |  | X | X | Inspect per D0002.2006, | Verify 100% of customer units
5.3 | 700 Family |  | X | X | Inspect per (reference D0002.2004) | Verify 100% of customer units
5.4 | Spark Family |  | X | X | Inspect per D0002.2007-IS | Verify 100% of new or customer units
5.5 | 820 Family |  | X | X | Inspect per D0002.2004 | Verify 100% of customer units
5.6 | 800B |  | X | X | Inspect per D0002.2023 | Verify 100% of customer units
5.7 | 814 / 824 |  | X | X | Inspect per D0002.2001 | Verify 100% of customer units
5.8 | 870 |  | X | X | Inspect per D0002.2025 | Verify 100% of customer units
5.9 | 2800 |  | X | X | Inspect per D0001.2026 | Verify 100% of customer units
5.10 | 2900 / 3000+ / 3200 |  | X | X | Inspect per D0002.2027 | Verify 100% of customer units
5.11 | HVM100 |  | X | X | Inspect per D0001.2049 | Verify 100% of customer units
5.12 | HAVPRO |  | X | X | Inspect per D0001.2050 | Verify 100% of customer units
5.13 | SRC20 |  | X | X | Inspect per D0002.2002 | Verify 100% of customer units
5.14 | 831 / 831C |  | X | X | Inspect per D0001.2047 | Verify 100% of new or customer units
5.15 | LXT |  | X | X | Inspect per D0001.2046 | Verify 100% of new or customer units
5.16 | Calibrator |  | X | X | Inspect per D0002.2045 | Verify 100% of new or customer units
5.17 | Microphones |  | X | X | Inspect per D0002.2045 | Verify 100% of new or customer units
5.18 | Preamps |  | X | X | Inspect per D0002.2045 | Verify 100% of new or customer units
5.19 | 730 / 730-IS |  | X | X | Inspect per D0001.2051 | Verify 100% of new or customer units
5.20 | HVM200 |  | X | X | Inspect per D0002.2062 | Verify 100% of new or customer units
5.21 | AUDCAL |  | X | X | Inspect per D0002.2066 | Verify 100% of new or customer units
5.22 | AEC206 |  | X | X | Inspect per D0001.6077 | Verify 100% of new or customer units
5.23 | NMS044 |  | X | X | Inspect per D0001.6076 | Verify 100% of new or customer units
5.24 | NOISETUTOR |  | X | X | Inspect per D0001.8361 | Verify 100% of new or customer units
5.25 | NMS045 |  | X | X | Inspect per D0002.2064 | Verify 100% of new or customer units
5.26 | AEC201 |  | X | X | Inspect per D0002.2045 | Verify 100% of new or customer units
5.27 | AEC202, AEC203 |  | X | X | Inspect per D0002.2045 | Verify 100% of new or customer units
5.28 | AEC304 |  | X | X | Inspect per D0002.2045 | Verify 100% of new or customer units