AEC206 PRE-SHIPMENT INSPECTION

1.0		PURPOSE AND SCOPE

This document provides the instructions necessary to perform a pre-shipment inspection of the AEC206.

2.0		RESPONSIBILITY

Quality Assurance, or designated person, has the responsibility to follow this instruction when inspecting the products listed in section 1.0.

3.0		MATERIALS AND EQUIPMENT

Windows Computer

4.0		INSTRUCTIONS

4.1		Inspection

- Print a new copy of order verification for new orders

- Verify the calibration certificates found on the USB drive under the Calibration folder.

- Verify the serial numbers.

- Verify the address.

- Verify the cert number.

- Verify the calibration due date is the interval the customer requested on order.  If there is no request, it is left blank.

4.2		New Product Cosmetic Inspection

    - Inspect for gouges, scratches, and dents on the case.

4.3		Service Product Cosmetic Inspection

- Verify the device is clean and free of fingerprints.

- PAPERWORK

Record the inspection on the QA Pre-Shipment Inspection Log, D0002.2044.

For new units, sign a “QA Final Inspection” (D0002.2003) slip and place inside the case.

Initial and date the order.  Place the unit on the inspection shelf or notify shipping that the unit is ready.

6.0		REVISION HISTORY

| DCO # | REV | DATE | INITIALS | CHANGES MADE |
| --- | --- | --- | --- | --- |
| ECO 4590 | A | 7/10/2017 | DWA | Initial release |
| 1833 | B | 4/27/18 | NJ | Update procedure to print new copy of order |