QA PRE-SHIPMENT INSPECTION CHECKLIST—ALL INSTRUMENTS

All Inspected Product

- Verify the interval of calibration matches the customer’s requested interval, if specified, on the order.  If there is no request, it is left blank.

- Verify the applicable certifications have been completed and signed by the technician.

- Once verified, return all products and/or accessories to appropriate tote or shipping box for transfer to shipping.

New Product

- Perform functional check of the product per work instructions.  If there are any problems, contact the Technician and suspend process until the inconsistency is resolved.

- Verify any special notes or customer instructions found on paperwork have been followed.

Service

- Perform functional check of the product per work instructions.  If there are any problems, contact the Technician and suspend process until the inconsistency is resolved.

- Verify the serial number and model of each product and any accessories against the RMA paperwork.  If there is something extra or missing, contact the responsible Technician.

- Verify any special notes or customer instructions found on paperwork have been followed.