CONFIGURATION AND FINAL INSPECTION

1.0		SCOPE & APPLICABILITY

Instructions for Larson Davis Configuration and Final Inspection Form, D2140.0017-1.

2.0		RESPONSIBILITY

QA is responsible for completing the Larson Davis Configuration and Final Inspection Form, D2140.0017-1, for each new sound level meter shipped.

Logistics will verify the completed form is included with each new instrument shipped.

Engineering is responsible to maintain the form.

3.0		MATERIALS, TOOLS, & EQUIPMENT

Printer capable of handling 5.5” X 8.5” paper

4.0		INSTRUCTIONS

4.1		Setup

A printer should be designated for printing Larson Davis Configuration and Final Inspection Form, D2140.0017-1, and a printer tray setup with 8.5” X 5.5”, white, 30# paper.

The desktop PC used for final inspection and calibration should be setup to print the form to the printer outlined above.

4.2		Usage

When a new sound level meter is being calibrated and prepared for shipment do the following:

- Open Larson Davis Configuration and Final Inspection Form, D2140.0017-1, in MS Word

- Use the computer to enter the serial numbers of the sound level meter, preamplifier and microphone.  If any component is not present, enter ‘N/A”

- Print the form

- Inspector will initial ‘Calibrated by’ and ‘Inspected by’ field when completed

- The completed form is shipped with the product

5.0		RECORDS

No records are generated by this process.

6.0		REVISION HISTORY

| DCO # | REV | DATE | INITIALS | CHANGES MADE |
| --- | --- | --- | --- | --- |
|  | A | 1/12/11 | KMC | Initial Release |