### Control of Customer-Supplied Product

1.0	PURPOSE AND SCOPE

This document establishes a method for controlling and handling of products, materials, personal data and intellectual property (Customer Supplied Product) supplied by a customer for inclusion in an order.

2.0	AFFECTED DEPARTMENTS

Production

Logistics

Sales

3.0	REFERENCE DOCUMENTS

D0001.1044		Logistics—Shipping Procedure

D0001.1068 		Purchasing - General Receiving & Distribution Section

D0001.1068-4 	Receiving Log

D0001.1068-5 	Shipping Damage Form

D0001.1150 		Return Material Authorization (RMA) Process

D0001.1012		Customer Communication

4.0	RESPONSIBILITIES & AUTHORITY

Production has responsibility to protect and maintain customer supplied product that is issued during the production process for incorporation into an order.

Logistics maintains the controlling authority over customer supplied product.  The authority includes:  Receiving, Routing, Protecting and Tracking.

Sales notify Logistics and Production when a customer is supplying product for incorporation into an order.

5.0	DEFINITIONS

Customer Supplied Product:  All products, materials, personal data and intellectual property supplied by a customer for integration into an order.

BSD:  Business System Database

LD: 	Larson Davis a Division of PCB Piezotronics, Inc.

RMA: 	Return Material Authorization

6.0	SAFETY PRECAUTIONS

Follow the safety precautions as outlined in the employee handbook and per safety policies.

7.0	EQUIPMENT & MATERIALS

Receiving Log

8.0	INSTRUCTIONS

A custom design for a customer may require the integration of customer supplied product that is not stocked or supplied by Larson Davis.  The specialized items used in the custom design may be supplied by the customer.  The process is detailed in Section 8.1.

8.1	CUSTOMER SUPPLIED PRODUCT FOR INTEGRATION

In the event that a customer supplied product is shipped to Larson Davis for inclusion in an order:

- A detailed list of all items received is kept in the receiving log. Details include who, what, where, when and why information on the received items.

- The items are not received into the BSD.  They are not Larson Davis inventory, they are customer property.

- Route the items to the appropriate job order for integration into the order.  If the items are not integrated into a product but are to be shipped with the finished goods, the items are placed on the shipping dock with the specified order.  (Sales order details the items to be included and shipped)

Customer supplied products are controlled and protected from damage while at Larson Davis.

8.2	DAMAGE FROM SHIPPING

If a customer supplied product is damaged in shipping prior to receipt by Larson Davis, a "Shipping Damage Form" is completed to document the damage. (D0001.1068-5)

The customer is notified that the items were damaged prior to receipt and the extent of the damage.  Arrangements are made by the customer to either replace the items or to use them in their current state.

8.3	DAMAGE AT LARSON DAVIS

If the customer supplied products are damaged while at Larson Davis:

- The customer is notified of the damage and Larson Davis has the responsibility to either repair or replace the items.

- A “Shipping Damage" form is completed by the Logistics Supervisor indicating how the damage occurred and how it could have been prevented.

- The damage report is retained by Logistics; a copy of the report is given to the QA Manager and to the General Manager.

9.0	INSPECTION

Customer supplied product is examined for shipping damage upon receipt per the "General Receiving & Distribution" section of the "Purchasing" procedure (D0001.1068).

Customer supplied product is inspected prior to shipment or integration into a system for damage that may have occurred at Larson Davis.

10.0	RECORDS

The receiving logbook and shipping damage records are maintained per the Quality Records Matrix, D0001.1126-1.

11.0	DISTRIBUTION

This document is maintained online in the Document Control area of the company intranet and is available to employees.

12.0	ATTACHMENTS

No attachments with this document please refer to the General Receiving Procedure.

13.0	REVISION HISTORY

| DCO # | REV | DATE | INITIALS | CHANGES MADE |
| --- | --- | --- | --- | --- |
|  | A |  | DS | Initial Release |
|  | B | 6/26/00 | JEB | Edits due to CAR# 000405-3 - Changed ownership - Clarified the Purpose and Scope statement to read: The purpose of this document is to establish a method for the control and handling of product(s) and/or material(s) supplied by the customer for inclusion in the specified purchase. The proper way of controlling customer-supplied product or materials. - Removed Purchasing from Affected Departments - Removed Safety Manual from Section 6.0 and replaced with Safety Officer - Minor grammatical corrections |
| 574 | C | 7/16/03 | JEB | Added sections 8.1 & 8.2, corrected document references, clarified section 9.0 |
| 1025 | D | 7/24/07 | HKB | General Updates |
| 1108 | E | 5/27/08 | DAR | Updates |
| 1209 | F | 5/14/09 | DAR | ISO9001-2008 updates clarify customer supplied product |