##### RETURN MATERIAL AUTHORIZATION PROCESS

1.0	PURPOSE AND SCOPE

The purpose of this document is to provide a guideline for the processing of products returned to Larson Davis by customers or representatives.  The procedure demonstrates the Larson Davis commitment to “Total Customer Satisfaction”.

Issues pertaining to RMAs are addressed in an effective manner and meetings are held as needed to identify trends and/or customer concerns.  RMAs and any associated trends are reviewed and reported as part of the scheduled "Quality Review" meetings.

(ref. D0001.1165)

2.0	AFFECTED DEPARTMENTS

Accounting

Logistics

Manufacturing

Quality Assurance

Sales

3.0	REFERENCE DOCUMENTS

D0001.0005 	Warranty Policy

D0001.1012 	Customer Communication

D0001.1020 	Corrective – Preventive Action Process

D0001.1068 	Purchasing

SM1009 	Return Material Authorization (RMA) (R:\ISO\SM)

SM1010 	Credit Memo Instructions (R:\ISO\SM)

4.0	RESPONSIBILITIES & AUTHORITY

4.1	Sales / Marketing:

- Authorizes the return of product.

- Informs customer and representatives in the return process.

- Initiates the Corrective – Preventive Action Process

- Responsible to document and maintain those records specified in the "RMA" procedure SM1009 (R:\ISO\SM)

- Responsible to communicate with the customer.

4.2	Logistics:

- Receives inventories and logs the returned product.

- Matches Sales information (Newsalert C2 RMA task) with the product.

- Notifies Sales of receipt.

- Delivers product to Production or to a location indicated by Sales.

- Returns product to shelves when instructed by process. (Return Material Authorization (RMA)).

4.3	Manufacturing:

- Communicates to Sales the results of investigation and review of products returned from customers.

- Follows the process map and appropriate work instructions.

4.4	Accounting:

- Reviews requests for financial adjustments.

- Communicates customer finance issues with Sales.

- Processes Credit Memos per SM1010.

- Works with Logistics to return products to inventory.

5.0	DEFINITIONS

Credit:  The term credit may also be used interchangeably with the term refund or Credit Memo

CAR: Corrective Action Request

CSR:  Customer Service Representative

LD: Larson Davis a division of PCB Piezotronics, Inc.

BSD: Business System Database

RMA:  Return Material Authorization.  A process used to provide control over returned product, tracking, customer contact and customer satisfaction.

RMA #:  A number assigned to track any product coming back from a customer.

QC:  Quality Concern

TCS: Total Customer Satisfaction

6.0	SAFETY PRECAUTIONS—N/A

7.0	EQUIPMENT & MATERIALS

Basic office equipment and supplies

8.0	INSTRUCTIONS

8.1	GENERAL PROCESS:

The RMA process is applicable to all products returned to Larson Davis.  Products may be returned for a number of reasons including but not limited to:

- Calibration

- Repair

- Warranty Repair / Replacement

- Credit

- Customer Dissatisfaction

Calibration and/or Repair is considered as routine maintenance.  This is the bulk of RMAs that are issued by LD.

Customers are asked to call Sales for a RMA number prior to returning product to LD.  If LD receives products that do not have a RMA number and authorization then contact is made with a CSR who contacts the customer.

When the customer calls in for an RMA number or product is returned to LD—Follow  the process maps as listed below.

- If it is a routine calibration, maintenance or repair that is desired then the process map in section 8.2 is followed.

- If it is a warranty return, then follow the process map in section 8.4.

- If it is a return that is due to Total Customer Satisfaction (TCS) refer to the process map in Section 8.5.

- Determination of the disposition of used equipment is described in the process map in Section 8.6.

8.2	CALIBRATION, MAINTENANCE & REPAIR RMA PROCESS MAP

Sales follows SM1009 Process Map and issues RMA #.

Returned product (s) arrive at LD dock.

Contact Sales with details and applicable repair cost estimate

Complete work.  Notify Sales when done.

Sales contacts customer for direction.  Include the Technician in the call per request or as needed.

Verify and record what was returned. (per D0001.1068) Newsalert C2 RMA task

Customer approves work?

Customer Contact

Product requires repair or replacement?

Return to Logistics

QA Final Inspection

Return to customer

Follow customer instructions

Yes

Yes

No

Deliver product to Production

Production evaluation of product

Sales notifies Production to proceed

No

8.3	Warranty / Replacement, Customer Satisfaction or Credit RMA's

Product that is being returned for Warranty, Replacement, Customer Satisfaction, or Credit is tracked through the "Corrective – Preventive Action Process" (D0001.1020) and the appropriate process map (8.4, 8.5, and/or 8.6)

A Technician evaluates product that has been returned from a customer due to functional faults while under warranty. The following guidelines are used to resolve the RMA.

- If the condition is due to manufacturing or engineering bugs, the item(s) is repaired or replaced and then returned per the customer's instructions.

- If a customer receives an instrument that is non-functional on arrival (DOA), LD has the option to replace the non-functional instrument prior to receipt of the compromised unit from the customer.

- If the condition is due to customer actions, Sales is notified of the problem and given a quote for repairs.  Sales has the responsibility to communicate with the customer about the findings of the technician.  The Technician may request to be included in a conference call with Sales and the customer.

- Product that is returned by the customer, when the customer desires a refund for the product, is evaluated for its returned condition and any refund is based upon the condition of the returned product.  However, if the product is returned within the first year of ownership (new product sales) the customer is entitled to a full-refund.  Refunds are handled through the "Credit Memo" instruction (SM1010) and according to the Warranty Policy (D0001.0005).

8.4	Warranty Process Map

Sales follows SM1009 Process Map and issues RMA #.

Returned product(s) arrive at LD dock.

Production completes repair work per Sales instructions.

Verify and record what was returned. (per D0001.1068) Match to C2 Newsalert and/or QC

Used equipment?

Customer Contact

Return to customer?

QA Final Inspection

Return to customer or Sales, per instructions

Records completed and filed per applicable instructions

Disposition per section 8.6

Yes

No

Logistics notifies Sales of Receipt

Production evaluation of product(s).  Notify Sales of findings.

No

Disposition per Sales instruction

Yes

8.5	TOTAL CUSTOMER SATISFACTION (TCS)

Sales follows SM1009 Process Map and issues RMA #.

Product arrives at LD dock.

Verify and record what was returned. (per D0001.1068) Match to C2 Newsalert and/or QC

Product opened or used?

Customer requests Total Customer Satisfaction

Product shipped over 1 year ago?

Recertify product (as appropriate) and return to stock

No

Logistics notifies Sales that product has been returned

Process TCS refund per D0001.0005 and SM1010

No

Go to section 8.6

Yes

Yes

8.6	Used Product Processing / Disposition

Product returned via warranty replacement, credit return, trade-in, etc. (Inputs from sections 8.4 or 8.5)

Issue to Technician for repair and calibration evaluation.

Is product worth repairing?

Product returned per TCS?

Logistics completes paperwork

No

Technician recertifies product as appropriate

No

Scrap

Yes

Is product in useable condition?

Sales contacts customer

Submit repair and calibration costs to Sales

Sales contacts customer, processes and issues credit memo per SM1010

Deliver product to Logistics

Yes

Yes

No

8.7	RETURNED PRODUCT (WARRANTY/CREDIT) DISPOSITION

The purpose of this section is to bring closure to the customer and to provide information to Larson Davis that can then be used to improve processes and procedures.

Sales indicate the disposition of the returned product(s).  Disposition is dependent on the condition of the product(s) and may include restocking, repairing, placing in the Sales Demo or (in extreme circumstances) scrapping.  Note: Any product that shows evidence of use or that has been repaired to like new condition cannot be restocked or sold as a new product.  It is sold as used product.

The customer is contacted to provide feedback concerning their return as well as confirming the amount of any credit.

If a QC was generated, follow the Corrective – Preventive Action Process (D0001.1020).

Advise the affected departments of the action taken:

| Group to Notify | Action Taken |
| --- | --- |
| Logistics | Restocking of item(s) (automatically generates a credit invoice) |
| Accounting | Instructions to process Credit Memo (SM1010) |
| Production | Approval of repairs needed to restore item(s) to "like new" condition. |
| Sales | Notify appropriate Sales personnel and/or representatives of customer interaction. |

9.0	INSPECTION

A review of the Warranty-Credit RMAs is included as part of the Quality Review meeting. (Scheduled by the QA Manager)  The purpose for reviewing the Warranty-Credit RMAs is to:

- Determine the effectiveness of the Warranty-Credit RMA process

- Review information for trends in the process and opportunities for continuous improvement.

Findings requiring corrective action are addressed through the CAR/QC, ECO and/or DCO processes.

10.0	RECORDS

The Sales Department records are maintained as specified in the RMA policy (SM1009)

Completed QCs are maintained per the Corrective – Preventive Action Process (D0001.1020).

11.0	DISTRIBUTION

Distribution of the procedure is via the online Document Control area.  Hard copies may be printed as needed for reference but the controlled revision is the current revision posted online.

12.0	ATTACHMENTS--None

13.0	REVISION HISTORY

| DCO # | REV | DATE | INITIALS | CHANGES MADE |
| --- | --- | --- | --- | --- |
|  | C | 6/12/03 | JEB | Total re-write of the procedure. Added embedded flowcharts to simplify the procedure. Made consistent with work instructions and CAR process. |
| 704 | D | 2/10/04 | JEB | Corrected Section 10.0 to reference the Quality Records Matrix (D0001.1126-1) |
| 1108 | E | 6/2/08 | DAR | Bring in line with changes to Sales. |