QUALITY ADDENDUM FOR INTRINSIC SAFE PRODUCTS

1.0		PURPOSE AND SCOPE

The purpose of this document is to provide a roadmap from the ISO/IEC 80079-34 standard to the Larson Davis Quality Management System (QMS).  Where requirements of ISO/IEC 80079-34 are not covered in the LD QMS this addendum will document the procedures to be followed.

2.0		AFFECTED DEPARTMENTS

All departments and divisions of Larson Davis are affected by this procedure.

3.0		REFERENCE DOCUMENTS

D0001.0001 Quality Management System and associated procedures, policies and instructions

ISO/IEC 80079-34 Explosive atmospheres—Part 34: Application of quality systems for equipment manufacture

4.0		DEFINITIONS (see section 3 Terms and Definitions of ISO/IEC 80079-34)

BSD:  Business System Data. Often referred to as ERP (Enterprise Resource Planning) program or MRP (Manufacturing Resource Planning program) program.

Contract: requirements forming an agreement between a manufacturer and a customer and transmitted by any appropriate means.

Customer Complaint: any reported written or verbal allegation made by a customer which concerns the identity, quality, durability, safety, security, conformity or performance of any equipment or protective system or component as defined in the Ex certificate.

Ex certificate: document that assures the conformity of a product with specified requirements for explosive atmospheres.

Technical documentation: documentation that enables the conformity of the product with the requirements of the standard(s) to be assessed.

Manufacturer: organization, situated at a stated location or locations, that carries out or controls such stages in the manufacture, assessment, handling and storage of a product that enables it to accept responsibility for continued compliance of the product with the relevant requirements and undertakes all obligations in that connection.

Manufacturers Document:  documents relating to an intrinsically safe product and required by a manufacturer but not subject to assessment by body responsible for verification when making an application for a test report or an Ex certificate.   (e. g. instructions, related drawings, data sheets, manuals, and sales literature).  These documents shall not be released or revised without first being reviewed by Engineering and the ISP manager.

Product: Ex equipment, protective systems, safety devices, Ex Components and their combinations, as well as software and service as defined in section 3 of ISO 9000:2015

Related Drawing: drawings or documents not listed in the Ex certificate but linked to the schedule drawings.  For example, internal schematics, board assembly drawings, subassemblies, etc.  These documents shall not be released or revised without first being reviewed by Engineering and the ISP manager.

Schedule Drawing:  drawing or document listed in the Ex certificate and/or test report.  These drawings shall not be released or revised until reviewed by the approval body first.

Type of Protection:  specific measures applied to Ex equipment to avoid ignition of a surrounding explosive atmosphere.

5.0		SAFETY PRECAUTIONS--None required.

6.0		EQUIPMENT & MATERIALS--None required.

7.0		INSTRUCTIONS

The Larson Davis Quality Management System is certified as being compliant to the ISO 9001:2015 standard.  The details of how Larson Davis complies with the standard may be found in the Quality Management System procedure, D0001.0001.

7.1		Documentation (see ISO/IEC 80079-34 section 4.2.3)

Larson Davis has a comprehensive document control program that is detailed in the “Document Control” procedure, D0001.1017.  Documents are filed by their unique product and/or part number and organized for ease of access, protected and audited for completeness on a regular basis.

Changes to documentation occur through the “Engineering Change Order” procedure, D0001.1022 or the “Document Change Order” procedure, D0001.1021.  Both procedures require that the changes be reviewed for their affect on regulated or related products or parts prior to the approval process.

Scheduled Drawings

The numbers of all Scheduled Drawings (including their Item Numbers in the BSD) shall have the suffix -IS-SD appended to them.  (This suffix -IS-SD will be used regardless of whether the product will be approved through ATEX, MSHA, or any non ATEX approval body).  For assembled PCB drawings, the schematic drawings shall have the suffix –SCH-IS-SD and the assembly drawing shall have the suffix –ASM-IS-SD appended to the end of the drawing number. 1

Although Scheduled Drawings should generally follow their associated Related Drawings, they shall be generalized and only contain the minimal amount of details and information to allow them to pass the notifying body’s assessments and approvals.  This generalizing would, for example, include leaving out dimensions, allowing for large tolerances in the drawings, as well as not calling out part numbers.  (e.g. scheduled drawing calls out just ‘LCD display’ or ‘back case’ instead of actual part numbers).1

Scheduled drawings shall include the verbiage “Do not change drawing without approval from the notified body.  Any changes could result in an unsafe condition.”  This verbiage shall be placed on every page of the Scheduled Drawing.

All Scheduled Drawings shall be reviewed by Engineering and the ISP Manager before being submitted to the notifying body for approvals.

Related Drawings

The numbers of all Related Drawings (including their Item Numbers in the BSD) shall have the suffix -IS appended to them.  Related Drawings will have the same drawing numbers as Scheduled Drawings differing only in the suffixes -IS vs. -IS-SD.   All Related Drawings shall be reviewed by Engineering and the ISP Manager before being released or revised. 1

Any Related Drawings shall have the verbiage placed into it “This is a Related Drawing, relating to the Scheduled Drawing axxxx.nn-IS-SD, which has been approved by a notifying body for the purpose of being used in an explosive environment.  Do not revise this drawing without first having it reviewed by Engineering and the ISP Manager.  Any changes to this drawing could result in an unsafe condition.” 1

Manufacturer’s Documents

The numbers of all Manufacturer’s Documents (including their Item Numbers in the BSD) shall have the suffix -IS appended to them.  All Manufacturer’s Documents shall be controlled and shall first be reviewed by Engineering and the ISP Manager before being released or revised. 1,2

The item’s description in the BSD shall have an * placed in front of it.  There will be a note placed in the BSD for the document stating “*This is a Manufacturer’s Document related to a product that has been approved by a notifying body for use in an explosive environment.  This document shall be reviewed by Engineering and the ISP Manager before it is released or revised.  Any changes to this document could result in a misleading statement to the end user that could result in an unsafe condition.” 1

For work instructions, there will be a note placed at the beginning of the document stating “*This is a Manufacturer’s Document related to a product that has been approved by a notifying body for use in an explosive environment.  This document shall be reviewed by Engineering and the ISP Manager before it is released or revised.  Any changes to this document could result in modifications to approved design that could result in an unsafe condition.” 2

1 Procedures are used for drawings and documents created after 09/2013.

2 Procedures are used for work instructions created or modified after 09/2018.

Other documentation

D0001.0014-1 is a listing of the examination certificates and approvals issued to LD.  The list details the notifying body that is responsible for the issuance of the certificates.

Documentation provided to outside suppliers and other third parties is verified and controlled as detailed in the Purchasing procedure, D0001.1068.  This is to ensure that all documentation shall be provided in a way that is not misleading.

The Intrinsic Safety Product (ISP) Manager will review at least annually and report to management during the ISO 9001 Management Reviews the validity of all Ex related certificates, standards, regulations and other external specifications.  Additionally the ISP Manager will report on all external audits, internal ECOs and quality system effectiveness and training as it relates to intrinsic safety products.

7.2		Quality Records (see ISO/IEC 80079-34 section 4.2.4)

Quality records are maintained and retained per the Quality Records procedure (D0001.1126) and the Quality Records Matrix (D0001.1126-1).

7.3		Management Responsibility (see ISO/IEC 80079-34 section 5)

The focus, functions and responsibility of management are provided as part of the Quality Management System document, D0001.0001.

7.4		Quality Management System Planning (see ISO/IEC 80079-34 section 5.4.2)

Products are given unique identifying names and/or numbers as detailed in the Document Control procedure, D0001.1017.  Item numbers can then be linked to a product to create a bill of materials that is unique to the product being sold.  The bill of materials provides the various levels of each product, the processes, and documentation required to produce the desired product.  This assures that products being built conform to the requirements of the Ex certificate issued for those products.

LD provides access to all manufacturing documentation and facilities whereby the notified body may audit the aspects of the suppliers operations that affect the type of protection granted.

7.5		Responsibility, Authority & Communication (see ISO/IEC 80079-34 sec. 5.5)

The Intrinsic Safe Products (ISP) Manager is a member of the Engineering group and has the following responsibilities

- Company wide coordination of all activities with respect to products intended for use in potentially explosive atmospheres.

- Acting as the lead contact for all communication with the notified (certifying) body issuing the Ex certificate.  This includes all approvals, changes, concessions, and technical documentation.

- Act as the liaison with the body responsible for the verification of the quality system with respect to intended updates to the quality system.

- Approving all changes to drawings, work instructions, literature, etc. related to potentially explosive atmosphere products.

- Assuring that customers are informed of all applicable special conditions for safe use and also providing a schedule of limitations for the product.  This may be accomplished by approving all sales literature, operating manuals or other means of communication deemed appropriate.

- Review all Ex certificates, standards, regulations, external specifications, and technical documentation and identify any changes that affect product compliance with the certificate and report to Management at its Quality Management Reviews the results of findings with recommendations for improvement and/or change that is needed.

The Marketing Manager has the responsibility of working with the ISP Manager to communicate to the public, specifications and changes to products used in potentially explosive atmospheres.  This includes approval of all Manufacturing Documents (literature, press releases, brochures web pages, manuals, data sheets, advertisements, etc.) related to these types of products.

Sales management has the responsibility to inform customers of applicable special conditions for the safe use of the equipment and any schedules of limitations for the customers’ stated application as approved by the ISP Manager.

The QA Manager has the responsibility of working with the ISP Manager and certifying body on changes that need to be made to the quality system in order to meet the requirements of producing products that may be used in potentially explosive atmospheres.

The Production Manager has the responsibility to coordinate the manufacturing of products intended for use in potentially explosive environments and to ensure that the products are manufactured to the approved documentation.

The listed responsibilities and authorities are included in the job descriptions for these positions.  Other responsibilities and authorities related to the Quality Management System are documented in the individual procedures, processes and instructions.

7.5.1	Quality System Updates (see ISO/IEC 80079-34 section 5.5.1)

Substantial quality updates or changes, as defined by Larson Davis, are communicated to the notifying body.

A substantial change to the quality system would be characterized by a change from an ISO standard based quality system to a non-ISO standard based system.

7.6		Management Review (see ISO/IEC 80079-34 section 5.6)

The management review process is detailed in the Management Review procedure, D0001.1164.  The Management Review procedure refers to agendas and meeting minutes templates that are used to ensure consistency between the Management Reviews.  Senior Management chairs this review that is held periodically, but must be held at a minimum of once a year.

7.7		Resource Management (see ISO/IEC 80079-34 section 6)

The requirements for resource management are detailed in the Quality Management System document, D0001.0001 and its referenced documents.

The ISP Manager will hold a training review for all LD personnel who may have an impact on intrinsic safe products at least annually.  The ISP Manager will report to the Management team that the training took place and provide evidence of those in attendance at the training.  The ISP Manager will determine the training items that will be covered in this training review.

7.8		Product Realization (see ISO/IEC 80079-34 section 7.1)

The processes related to taking a product from concept to the market are detailed in the Design Control Process, D0001.1009, and the production processes as outlined in D0001.0001 section 8.0.

7.9		Customer Related Processes (see ISO/IEC 80079-34 section 7.2)

When the product has been released to the market with appropriate product identifiers, the Sales group works with the customers to determine which products they desire to purchase.  Customers receive quotes via the Quotation instructions and contracts are reviewed by the appropriate Sales personnel per the Contract Review procedures.

Customer Product Review (see ISO/IEC 80079-34 section 7.2.2)

Per PCB Piezotronics’ quality document SM1005, sales will review with the customer, products that have intrinsic safety ratings, to ensure that the product is appropriate for their intended use.

Sales Management determines the most appropriate method for indicating the product category and marking information on the customer contract.

Contract review includes knowing and understanding the customer’s application, where stated by the customer, for the product.  Sales or Marketing management trains the outside distributors and/or representatives in the Ex type-examination products and the applications appropriate for product usage. Sales or Marketing management, outside distributors or representatives review the customers’ stated application for compatibility with the Ex type-examination certificate.

7.10	Design and development (see ISO/IEC 80079-34 section 7.3)

The design procedure, D0001.1009, is comprehensive to taking a product from conceptualization through completed design.  When products are determined to require an Ex certificate, they will comply with the requirements of the appropriate product design safety standards applicable to the certificate desired.  The ISP Manager will have responsibilities as outlined in 7.5 of this document.  All changes and designs of Ex certificate products will be reviewed and approved by the ISP Manager.

7.11	Purchasing (see ISO/IEC 80079-34 section 7.4.1)

The Purchasing procedure, D0001.1068 is comprehensive for the type of products manufactured by LD and the requirements listed as unique to the intrinsic safe products have been incorporated as part of the standard process and in this procedure.  A few of the key points that were specifically identified in the ISO/IEC 80079-34 that are covered either in the Purchasing document or this procedure include:

- The manufacture, test and final inspection of product may be sub-contracted out but Larson Davis has the responsibility to ensure the conformance of the product to its specifications.  LD takes this responsibility and ensures compliance by doing 100% inspection and final quality check.

- Suppliers providing products or services that affect the product’s compliance with the Ex certificate are selected only after an approval process demonstrates their ability to meet all specified requirements e.g. an acceptable Ex quality system.  This approval process may include: documentation provided by the supplier from an accredited body that they comply with ISO/IEC 17021 in scope an content; other documented evidence that the supplier can provide product, processes or services that are fit for the purpose intended; and periodic site assessments of suppliers are conducted, as deemed necessary by QA, Purchasing or Management; to ensure that relevant controls are available, documented, understood and effective for the manufacturing of IS products.

- Calibration service suppliers are evaluated on their ability to meet LD traceability and accuracy requirements as outlines in 7.12 of this document.

- Where the features affecting the type of protection cannot be verified at a later stage, e.g. encapsulated intrinsically safe circuits, then the product process or service shall only be accepted by one of the following methods.

  - The manufacture can demonstrate that the control process implemented by the subcontractor ensures Ex compliance.

  - The body responsible for the verification of the quality system performs periodic audits at the sub-contractors.

- Suppliers not used for a period exceeding one year shall undergo a re-evaluation process prior to being used again.

- The ongoing ability of the supplier to provide conforming product shall be reviewed at intervals not to exceed one year.  The review process may include review of incoming inspection reports, on site inspections and other means whereby the supplier demonstrates their ability to meet requirements.

- LD will facilitate the body responsible for the verification of the Ex quality system access to any supplier or subcontractor’s operations that affect the Ex type of protection.

7.11.1	Purchasing Information (see ISO/IEC 80079-34 section 7.4.2)

The Purchasing procedure, D0001.1068 contains specific requirements to include adequate information, with the purchase order, necessary to ensure that the purchased items meet the specified requirements.  Engineering specifies and/or controls the documentation provided to Purchasing.

Purchasing will comply with the following requirements for all Ex products, their subassemblies, components and outside services.

- The purchasing document shall clearly describe the specific requirements pertaining to subcontracted product set out in the Ex certificate and the technical documentation provided by engineering for process controls, testing and or inspection and will require a Certificate of Conformance from the supplier.

- Items where conformance cannot be verified after manufacture e.g. encapsulated intrinsically safe circuits, the purchasing information shall set out the specific quality procedures, resources and sequence of activities relevant to the particular item.  The supplier will be required to provide a Certificate of Conformance for the product supplied.

- LD tracks Ex products and service by purchase order and markings placed on the products or with the products that are traceable to a specific purchase order.

- When LD does not provide documents with every order it will require a Certificate of Compliance for the product being supplied that the products or services are the revision level specified on the purchase order.  LD will through compliance audits assure that the integrity of supplied documents is being maintained.

7.11.2	Verification of Purchased Product (see ISO/IEC 80079-34 section 7.4.3)

Ex certificate products require that verification take place as appropriate during the manufacturing process.  The specific verification requirements unique to these products are as follows:

- Purchased product that has the potential to compromise the Ex certificate compliance are designated as critical components by engineering and a method for verification of the products’ compliance is defined by engineering.

- The need for and the type of verification required is dependent on the nature of the product being supplied, the supplier and how critical the product is to the Ex compliance.

- Verification may be carried out by supplier if the evaluation of the supplier indicates that the supplier is qualified to do the work and that a certificate of conformity is provided with each batch or supplied product(s).  The supplied certificate of conformity shall comply with the ISO/IEC 17050-1 standard.

- Where the Ex certificate specifies routine tests or inspections to be performed on each and every product, the responsibility for those verifications is designated on the purchase order if the work is to be done by the supplier or on the work flow documentation when performed by Larson Davis.  If done by the supplier then a certificate of conformity is required with each shipment.

- The requirement of ISO/IEC 80079-34 7.4.3 (e) is not applicable to Larson Davis products since the completed products can be verified after manufacture.

- The requirement of ISO/IEC 80079-34 7.4.3(f) is not applicable to Larson Davis products since the completed products are verified 100% after manufacture.

- Verifications, whether completed by Larson Davis or a supplier, that require specialized knowledge and/or training are completed by personnel for whom documentation of their training or experience is available from the supplier or in the case of LD employees, from the Human Resource Manager.

- Tests that are carried out for Larson Davis by a supplier at the suppliers’ place of business are under the responsibility of Larson Davis.

- A Certificate of Conformance will be required of purchased product that relates to the material (metals, alloys, non-metallic parts, resins and similar) were such items are specified in the Ex certificate for intrinsic safe products.

- Supplier verification and approval is detailed in the Purchasing procedure, D0001.1068.

7.12		Production and Service Provision (see ISO/IEC 80079-34 section 7.5)

Refer to the Larson Davis Quality Management System, D0001.0001, for details of how Larson Davis meets this provision. Larson Davis products are manufactured using controlled processes, procedures and documentation.  Ex certificate products are identified throughout the manufacturing process by unique identifying numbers.

7.12.1 Identification and 	traceability

Larson Davis finished goods products have serial numbers that can be traced through final certification and sale to customers.  Internal pcbA boards have unique identifying numbers to classify them as Ex certificate products.  Furthermore all pcbA batches have identifying numbers to indicate the manufacturing batch.  The pcbA batch identifying number for each finished good sold is recorded in the archived final product checklist for the Ex product.

7.12.2	Customer Property

If a customer requests integration of customer-supplied products, Larson Davis has the responsibility to verify the compatibility of those products with the requirements of the Ex certificate and to notify the customer if the integration is not compatible with the Ex certificate.  The review process is part of the technical review of a contract as detailed in Contract Review.

7.12.3	Preservation of Product (ATEX Directive 2014/34/EU Annex II)

Each product manual contains the Ex certificate information that is also listed on the product.  The manual provides the customer with the necessary instruction for:

- The safe use of the product in the environment(s) for which it is approved

- Determining if the environment of desired use is appropriate for the product

- Special handling or precautions when using the product

The manuals and literature are verified prior to publication, by Larson Davis, to prevent contradiction between multiple sources of product information.

The official language of the manuals and other literature is English.  Distributors and/or representatives are educated in the requirement for the translation of manuals and literature into the local Community languages prior to sales into that Community. Translations of manuals and literature into other Community languages are based on the English version.

Larson Davis equipment is not designed for service or repair by the customer, therefore instructions detailing those processes are not provided to the customer.

7.13	Control of Monitoring & Measuring Devices (see ISO/IEC 80079-34 sec. 7.6)

Certificates of calibration and/or conformance for monitoring and measuring devices contain the following information as a minimum:

- unique identification of the item certified (model/serial number, ID number, etc)

- evidence of traceability to national and/or international measurement standards

- method of calibration (process, procedure reference, etc.)

- a statement of compliance with any relevant specification

- results of calibration

- uncertainty of measurement, where necessary

- environmental conditions, where relevant

- date of calibration

- signature of the person under whose authority the certificate was issued

- name and address of issuing organization

- date certificate was issued

- a unique identification of the calibration certificate (certificate number)

Calibration / certification service providers that are not accredited by a national body are assessed by Larson Davis to demonstrate that the provider has a valid relationship and traceability to international or national measurement standards.  This is accomplished through site assessment, inter-laboratory comparisons or other methods of validation.

7.14	Measurement Analysis and Improvement (see ISO/IEC 80079-34 section 8)

7.14.1		Customer Satisfaction

The Customer Satisfaction Feedback (CSF) process determines the level of a customer’s satisfaction by evaluating the following Larson Davis, product and service attributes:

- Attitude

- Delivery

- Packaging

- Quality

- Delivery

The report generated by this process is reviewed monthly by Management.  Concerns generated from the CSF process are documented via the Corrective/Preventive Action Process, D0001.1020 (Quality Concerns, QC). The QC process is used to track, monitor and resolve customer concerns.  Those concerns that involve products with Ex certificates are identified in the QC Log.

7.14.2		Internal Audits

Internal audits of the QMS and this addendum are scheduled and performed in connection with the QMS procedures and those outlined in D0001.1166.  The method used to demonstrate the effectiveness of the policies and procedures of the Ex certificate is the vertical audit.  This vertical audit is performed at a minimum between 12 to 14 months.  These audits are outlined in work instruction D0002.2052.

7.14.3		Monitoring and Measurement of Product and Processes

Work instructions, drawings and related product documentation are used to ensure that products are manufactured consistently and to the specifications for each product. Tests that are specified by regulatory bodies are included as part of the manufacturing documentation.

Processes that affect the integrity of the product and the resulting process can not be verified after manufacture (e.g. environmental conditions required for curing an encapsulated item), the specific process shall be monitored and measured and documentary evidence shall be maintained to demonstrate compliance with the required parameters of the process.

7.15	Control of Non-conforming Product (see ISO/IEC 80079-34 section 8.3)

In the event of unintentional delivery of products not conforming to their Ex certification:

- The affected customers are identified through the Business Systems Database (BSD) and the Larson Davis Database (LDDB).

- A materials review board is convened per the Non-Conformant Materials and Product procedure, D0001.1034, to address the non-conformity, the degree of associated risk and to recommend the level of action necessary for the level of risk the non-conforming product poses to the customer.  The recommendations are reviewed by management and implemented as appropriate.

- When an unsafe nonconforming product has been supplied to customers, Larson Davis shall inform the customers in writing, as well as the body responsible for the verification of the quality system, and the issuer of the safety certificate.

The records that are required for all non-conforming products (with Ex certificate approval) that have been supplied to customers are detailed in the Quality Records Matrix, D0001.1126-1.

- serial numbers or identification of products supplied

- the identification of the customers supplied with the product

- the actions taken to inform customers and the relevant notified body in the case of unsafe non-conforming product

- the action taken to implement corrective and preventative action

These records are maintained by Larson Davis for a minimum of ten years following the identification of the non-conformity.

Concessions for the product that take it outside the design, as defined in the Ex certificate and technical documentation, are not permitted.

7.16	Improvement (see ISO/IEC 80079-34 section 8.5)

Corrective and preventative actions are followed as outlined in D0001.0001.

8.0		RECORDS

Records applicable to the requirements of this document are detailed in the Quality Records Matrix, D0001.1126-1.

9.0		DISTRIBUTION

This document is available to employees via the online area of Document Control.

10.0	REVISION HISTORY

| DCO # | REV | DATE | INITIALS | CHANGES MADE |
| --- | --- | --- | --- | --- |
|  | A | 10/31/05 | JEB | Initial Release |
| 1212 | B | 5/18/09 | DAR | Updates to reflect changes to other documents |
| 1278 | C | 1/21/10 | DAR | Minor changes to ISP manager duties, typos, and addition of list of certificates and the notifying bodies on D0001.0014-1. |
| 1416 | D | 12/14/12 | DAR | Update to new ISO/IEC 80079-34 standard. |
| 1417A | E | 09/27/2013 | JLD | Updated more to new ISO/IEC 80079-34 quality standard. Updated on control of Scheduled Drawings, Related and Manufacturer’s Documents. |
| 1604 | F | 01/06/2016 | ADB | Updated clarification about providing documentation in way that is not misleading. Also updated to state that concessions outside the design are not permitted. |
| 1702 | G | 05/04/2017 | ADB | Updating reference of ATEX directive to 2014/34/EU |
| 1802 | H | 05/02/2018 | ADB | Changing document suffix for new drawings to be generalized to all Intrinsic Safe product certification, not just ATEX. Updated Management Review section to be in line with updates for ISO 9001:2015 |
| 1858 | I | 10/29/2018 | ADB | Update to current procedures. |
| 1861 | J | 12/4/2018 | ADB | Updates to reflect changes in ISO 9001:2015 standard and other clarification |