| ## Employee Name: |  |
| --- | --- |
| Date of audit: |  |
| Job Number: |  |
| Part Number: |  |
| Department |  |
| Auditor: |  |

Microphone Assy. Tech Audit Checklist – Rev J

| ## # | ### Category | ### Pass | ### Fail | ### Points Possible | ### Points Deducted | ### Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Process Controls |  |  |  |  |  |
| a) | Measuring tools are within calibration date |  |  | 2 |  |  |
| b) | Fixture being used matches fixture on Router |  |  | 2 |  |  |
| c) | Fixtures properly identified and in good condition |  |  | 2 |  |  |
| d) | Product at workbench and placed in oven or ultrasonic cleaner by Tech. properly identified |  |  | 2 |  |  |
| e) | Pre-flight checklist completed |  |  | 2 |  |  |
| f) | If applicable, MDN (EN082) is being used correctly per TA1039 and/or EN082i for process changes. |  |  | 1 |  |  |
| g) | Nonconforming material properly identified. Proper forms being used and all required information filled in: TA081 is being used for in-process nonconforming material (job router is open), an MDR (QA020) is being used for component nonconforming material or an MRR is being used for external supplier material. |  |  | 4 |  |  |
| 2 | Document Control |  |  |  |  |  |
| a) | Technician using proper job documentation |  |  | 2 |  |  |
| b) | If applicable, Technician is logged into the job/operation that they are currently working on in Shop-Trak. |  |  | 2 |  |  |
| c) | Hand-written changes contain single line cross-out and are initialed & dated |  |  | 4 |  |  |
| d) | Technician is following the procedure |  |  | 8 |  |  |
| e) | Parts being used match what is on the job BOM. |  |  | 2 |  |  |
| f) | Employee’s stamp legible |  |  | 1 |  |  |
| g) | Employee’s stamp properly controlled per QA1038 |  |  | 1 |  |  |
| 3 | Special Process – Prod Equip Settings per TA094 |  |  |  |  |  |
| a) | Polishing & Lapping settings & times correct |  |  | 3 |  |  |
| b) | Oven settings & times correct |  |  | 3 |  |  |
| c) | Aging process follows procedure |  |  | 3 |  |  |
| d) | Acceptable knowledge of procedure |  |  | 3 |  |  |
| 4 | Special Process – Cleaning per TA1061 |  |  |  |  |  |
| a) | Parts adequately cleaned |  |  | 3 |  |  |
| b) | Gloves worn at work bench |  |  | 2 |  |  |
| c) | Acceptable knowledge of procedure |  |  | 3 |  |  |
| 5 | Special Process – Foreign Object Debris Control per TA1074 & TA1287 Clean Room Requirements |  |  |  |  |  |
| a) | Technician following procedure |  |  | 8 |  |  |
| b) | Workbench clean and free of clutter |  |  | 2 |  |  |
| c) | Air flow on bench turned on |  |  | 1 |  |  |
| d) | ISO7 room restrictions are being followed |  |  | 5 |  |  |
| e) | Gown clean and in good condition |  |  | 1 |  |  |
| f) | Personal restrictions being followed |  |  | 3 |  |  |
| g) | Code of conduct before entering and after entering ISO7 clean room being followed |  |  | 5 |  |  |
| h) | Clean room gloves worn at all times when entering and in room |  |  | 2 |  |  |
| I) | Acceptable knowledge of procedure. |  |  | 3 |  |  |
| 6 | Special Process – Changing Spacers per 39568 |  |  |  |  |  |
| a) | Technician following procedure |  |  | 8 |  |  |
| b) | Acceptable knowledge of procedure |  |  | 3 |  |  |
| 7 | Special Process – Epoxy Application per TA07 |  |  |  |  |  |
| a) | Epoxy at bench is within shelf life |  |  | 3 |  |  |
| b) | Epoxy is clearly identified and properly labeled |  |  | 3 |  |  |
| c) | Epoxy applied properly |  |  | 3 |  |  |
| d) | Acceptable knowledge of procedure |  |  | 3 |  |  |
| 8 | General Workmanship |  |  |  |  |  |
| a) | Proper torque applied per TA1075 |  |  | 1 |  |  |
| b) | General assembly acceptable per TA1039 |  |  | 1 |  |  |
| 9 | Teflon Thickness Measurement per IP601-15 |  |  |  |  |  |
| a) | Acceptable knowledge of procedure |  |  | 3 |  |  |
| 10 | Pre-cal and Final-cal |  |  |  |  |  |
| a) | Equipment and reference standard are within calibration date |  |  | 2 |  |  |
| b) | Calibration being performed under acceptable environmental conditions |  |  | 2 |  |  |
| c) | Cables, connector adapters, clip leads, fixtures, etc. are in good condition |  |  | 2 |  |  |
| d) | Daily verification of calibration test station performed & documented according to applicable procedure |  |  | 2 |  |  |
| e) | Pre-cal setup acceptable per IP601-10 |  |  | 2 |  |  |
| f) | 3rd Pre-cal. Parts being used match what is on job BOM. |  |  | 3 |  |  |
| g) | Final cal setup acceptable per AT603-5 |  |  | 2 |  |  |
| h | Results of tests properly documented. Actions recorded when out of tolerance condition observed. |  |  | 2 |  |  |
| i) | Calibration Certificate meets requirements |  |  | 2 |  |  |
| 11 | Safety |  |  |  |  |  |
| a) | PPE worn correctly if required |  |  | 2 |  |  |
| b) | Safe practices followed |  |  | 2 |  |  |
| c) | Employee can access SDS for chemicals in their work area |  |  | 0 |  |  |
|  | Total Number of Points Deducted |  |  |  | ___________ |  |

NOTES

Actions Taken