## Shaker Ver
M/Y | Shaker S/N |  | Shaker S/N |  | Shaker S/N |  | Shaker S/N |  | Shaker S/N |  | Shaker S/N
Day | Sens. | Init. | Sens. | Init. | Sens. | Init. | Sens. | Init. | Sens. | Init. | Sens. | Init.
1st
2nd
3rd
4th
5th
6th
7th
8th
9th
10th
11th
12th
13th
14th
15th
16th
17th
18th
19th
20th
21st
22nd
23rd
24th
25th
26th
27th
28th
29th
30th
31st
Verification Sensors: |  |  | 1 |  |  |  | 2
Replacement Sensors: |  |  | 1 |  | Date |  | 2 |  | Date
Note: If the sensitivity is low, do not use, take immediately to a supervisor.
Note: If a new verification senosr is required enter the new sensor serial number and date(s) it was used.