## Sheet1
Save Files in: R:\Vibration\Microphones\data sheets
Model Number |  |  |  | Main Assy Number |  |  |  | Serial Number |  |  |  | Job # | [9 empty] | Yes/No List
|  | First Time |  |  |  |  | Rework 1 |  |  |  |  | Rework 2 |  |  |  |  | Rework 3 |  |  |  |  | Yes
Test |  | Sensitivity (dB) | Sensitivity (mV/Pa) | Tech | Date | Fail Code | Sensitivity (dB) | Sensitivity (mV/Pa) | Tech | Date | Fail Code | Sensitivity (dB) | Sensitivity (mV/Pa) | Tech | Date | Fail Code | Sensitivity (dB) | Sensitivity (mV/Pa) | Tech | Date | Fail Code | Re-charges
Trim Sensitivity
Fill Out Info for Spacer Sizes & Required Re-Charges |  | Initial Spacer | Spacer Change 1 | Spacer Change 2 | Spacer Change 3 | Re- Charged | Initial Spacer | Spacer Change 1 | Spacer Change 2 | Spacer Change 3 | Re- Charged | Initial Spacer | Spacer Change 1 | Spacer Change 2 | Spacer Change 3 | Re- Charged | Initial Spacer | Spacer Change 1 | Spacer Change 2 | Spacer Change 3 | Re- Charged
Test |  | Sensitivity (dB) | Sensitivity (mV/Pa) | Tech | Date | Fail Code | Sensitivity (dB) | Sensitivity (mV/Pa) | Tech | Date | Fail Code | Sensitivity (dB) | Sensitivity (mV/Pa) | Tech | Date | Fail Code | Sensitivity (dB) | Sensitivity (mV/Pa) | Tech | Date | Fail Code
1st Precal Sensitivity
After Securing Diaphragm (if applicable)
2nd Precal Sensitivity
Station # | [20 empty] | 1
2nd Precal Shock (if applicable)
3rd Precal Initial
2nd to 3rd Shift
3rd Precal Re-Age (if applicable)
3rd to Re-Age Shift
3rd Precal Shock
3rd to Shock Shift
3rd Precal Re-Shock (if applicable)
Shock to Re-Shock Shift
Final Cal Sensitivity (optional) | [21 empty] | TRUE
3rd to Final Shift | [21 empty] | TRUE
TRUE
Failure Codes: |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |  | Scrap | [7 empty] | TRUE
Reason |  | Sweep | Sensitivity | Sensitivity Shift | Cosmetic | Inadequate Glue | Diaphragm Damaged | Sweep & Sensitivity | Low Frequency | More than 3 Spacers | Humidity IR Failure | Other
Comments:
| NOTE: | 1: If the microphone passes, no code will be entered and the unit will move on to the next process. Data should follow a downward pattern on the sheet until a failure occurs. When a failure occurs, the data will then shift right to the rework column.
| - Example 1: | 1: Microphone passes Trim Sensitivity, continues through the process and gets to 1st precal. The data for 1st precal is recorded directly below the previous step in which it passed.
| - Example 2: | 1: Microphone passes at Final cal. The data is recorded in the Final Cal row directly below the previously recorded data from 3rd precal. The data is then saved.
| - Example 3: | 1: A microphone fails at 1st precal OR Hum. IR, it needs to be reworked. Enter fail code in first column and enter new data in the Rework 1 column. This process continues with any failure until it is reworked a MAXIMUM of 3 times on an un-glued microphone. At this point the sub-assy will be determined scrap, job # that microphone was scrapped on is recorded on data sheet then the data sheet is saved.
| - Example 4: | 1: A microphone fails at 2nd precal, 3rd precal, or Final Cal, the unit is automatically determined as scrap since it is glued.
| - Example 5: | 1: A microphone shifts at 3rd precal and it needs to be re-aged or re-shocked, the data for the calibration step that was repeated should be filled out in the same column as previous data point. There are fields labeled for re-age and re-shock. Future data will be added directly below the previous step in which it passed.
| NOTE: | 1: If the microphone fails after the 3rd spacer change, the microphone is considered rework and must be put into rework. If the microphone fails this step at 3rd Rework, the sub-assy is considered SCRAP (generate a TA081).
Scrap