## Sheet1
Repair's Dept. Decision Tree Rev. A, 06/12/2015
Note - Any Failure Analysis or Quality Concern will follow guideline: If we choose not repair, we will issue customer new sensor.
Transducers
Reason for Repair | Single Axis |  | Tri-Axis
| Yes | No | Yes | No
Broken Element | Yes |  | Will Repair 2 Axis, 1 time each
Recal | Yes |  | Yes
NTO | Yes |  | Will Repair 2 Axis, 1 time each
TONO | Yes |  | Will Repair 2 Axis, 1 time each
High Transverse | Yes |  | Will Repair 2 Axis, 1 time each
Short Time Constant | Yes |  | Will Repair 2 Axis, 1 time each
Infinite Time Constant | Yes |  | Will Repair 2 Axis, 1 time each
Low Resonance | Yes |  | Will Repair 2 Axis, 1 time each
Low or High Sensitivity | Yes |  | Will Repair 2 Axis, 1 time each
Low or High Bias | Yes |  | Will Repair 2 Axis, 1 time each
Erratic | Yes |  | Will Repair 2 Axis, 1 time each
Shorted - Amp related | Yes |  | Will Repair 2 Axis, 1 time each
Shorted - Connector / Cable related | Yes |  | Will Repair 2 Axis, 1 time each
Low Insulation | Yes |  | Will Repair 2 Axis, 1 time each
Replace Connector | Yes |  | NO
Replace Off-Ground | Yes |  | Yes
Replace Cover | Yes |  | Yes
Replace Cable | Yes |  | Yes
Hammers
Reason for Repair | Yes | No
Recal | Yes
Shaft Replacement | Yes
Connector Upgrade | Yes
Replace Amp | Replace Amp once