RECALIBRATION/REPAIR LEAD TIME SHEET -

DELIVERY for Accel Sensors

WARNING – CRQC MUST be reviewed ASAP as many RMA’s will be processed in less than 5 days.

Recalibration Guidelines: (Based off

of units per RMA)

Primary Laser Calibration – 10 bsns days –Code  LAS

Single Axis

- Up to 20 axis– 3 bsns days – Code 3DY

- Over 20 axis –  10 bsns days-Code REC

- Over 40 axis – call for delivery

Triax

- Up to 21 axis – 3 bsns days – Code 3DY

- Over 21 axis – 10 bsns days-Code REC

- Over 42 axis – call for delivery

COMBO OF THE ABOVE

- Up to 20 axis –3 bsns days – Code 3DY

- Over 20 axis – 10 bsns days-Code REC

- Over 50 axis – call for delivery

Shock

- Up to 10 axis – 3 bsns days – Code 3DY

- Over 10 axis – 10 bsns days-Code REC

- Over 20 axis – call for delivery

Hammers

- Up to 5 – 3 bsns days  – Code 3DY

- Over 5 – 10 bsns days-Code REC

- Over 20 – call for delivery

Competitor sensors

- Competitor Product – requires an updated spec

- Up to 5 -5 bsns days – Code 1WK

- Over 5 -10 bsns days – Code REC

- Over 20 – call for delivery

Microphones

- Up to 5 – 3 bsns days-Code 3DY

- Over 5 – 10 bsns days-Code MIC

- Over 20 – call for delivery

Pressure – excluding 116B, 117, 123,124A 137A,138,112A05,138, 145A01, 171,176 series, PCS-3 cal code,  and all W models.

- 102/112 and 103/113 –

- Up to 5 – 3 bsns days  – Code 3DY

- 6 to 10 –  10 bsns days – Code REC

- All models on the exclusion list will

be:

- Up to 5pcs – 1WK

- Over 5pcs – call for delivery

- 102M295 – 10 bsns days – Code REC

Force excluding: 260/261 series

- Up to 5 – 3 bsns days  – Code 3DY

- 6 to 10 – 10 bsns days – Code REC

- All models on the exclusion list will

be:

- Up to 5pcs – 1WK

Over 5pcs – call for delivery

Impedance Heads (288 series)

- Up to 5pc – 5 bsns days – Code 1WK

- Over 5pc -10 bsns days – Code REC

UHT (357 series)

- Up to 5pc – 5 bsns days – Code 1WK

- Over 5pc -10 bsns days – Code REC

- Over 20pc – call for delivery

GEP

- 481 series /584 series / 583/443/478/483 series – up to 2 units – 5 bsns days- Code 1WK

  - 3+ units – 10bsns days – Code REC

- All others up to 10 pieces – 5 bsns days- 1WK

  - 10+ units – 10bsns days – REC

- 481 EVALS – 10bsns days

  - Over 3pc – call for delivery

- 478A30  All incoming units to be coded Evaluation, 6 weeks lead time for outside service

  - Any repair that is required from this outside service, PCB calibration cost needs to be added to that total

Systems

- Up to 4 – 5 bsns days-Code SRC

- Over 4 – 10 bsns days-Code SRC

Repair Guidelines:

Stock/Standard Models

- 15 Business Days – Code RAN

Special Models (M in part #)

- 35 Business Days – Code SPE

HT or 320, 339A30 series, 356A05, 356A04

- 20 Business Days – Code RAN

ALL Waterproof Models - RAN

- 15 Business Days

Anodized Models (356B08, 356B18

356A16, 356A17)

- 20 Business Days – Code RAN

Models that require Outside Service

To Repair (GRAS, 478A30, Rokide)

- 20 Business Days – Code RAN

Evaluation

- 5 Business Days – Code EVA

Modification

- 15 Business Days – Code MOD (ARO of Job and parts)

Repair Codes and Lead Time (Days Due)

1WK = 5 days

REC = 10 days

SRC = 5 days

RAN = 15 days

EVAL = 5 days

MOD = 15 days

SPE = 35 days

FAL= 10 days

NEW CODES:

3DY = 3 days

MIC = 10 business days

LAS = Laser Cal 10 days

ETC = 5 days

WLD = 5 days