## PFT Bench Tech-PreFlight
Preflight Checklist for PFT Bench Technicians
Purpose Of Preflight Checklist: To ensure all manufacturing systems are verified as acceptable prior to performing any work.
Bench ID #: |  |  |  | Shift #:
Record Date (MM/DD/YY) or "NA"
STEPS | DESCRIPTION |  |  | Mon | Tues | Wed | Thur | Fri | Sat
Start of Shift (Bench Technicians responsibilities:) |  |  |  | Enter P=Pass C=Corrected N/A= Not Applicable
1 | Check ESD System by uncoupling cord from wrist strap or coat and verifying system beeps.
2 | Wipe ALL Container Lids
3 | Check all Epoxy is Labelled Correctly and NOT Expired. Record Expiration Dates
Initials of Technician Completing Steps 1-3
After Meal Break (BenchTechnicians responsibilities:)
4 | Check all Epoxy is Labelled Correctly and NOT Expired. Record Expiration Dates
Initials of Technician Completing Step 4
Once/Week Checks (1st Day of Week that Bench is in Use): | [5 empty] | Enter P=Pass C=Corrected N/A= Not Applicable
STEPS | DESCRIPTION
5 | Check Solder(s) Containing Flux are NOT Expired. Record Expiration Date(s)
6 | Check that Flux(es) are NOT Expired. Record Expiration Date(s)
7 | Check ALL Equipment for Green Sticker(s) - 1) Verify w/in cal date 2) Marked "No Cal Required" 3) Marked "Ref Only". Ensure Tamper Seal(s) not Broken. Alert Supervisor if Any Equipment is due for Calibraiton this Week or if Stickers are Missing.
8 | ALL Hazardous Material has Legible Safety Label
9 | Check all Cleaning Brushes are NOT Expired
10 | Check all Shelf Life Material(s) are NOT Expired. Ex. Heat Shrink, Bench Cleaner, etc
Record Name & Date of Technician Performing Steps 5 - 10
Name: |  |  |  |  | Date:
Step # | Issue |  | Corrective Action |  |  | Initial |  | Date
Supervisor is responsible for reviewing each preflight checklist at the end of work week.
TA202 REV NR